|  | Iowa Department of Natural Resources Underground Storage Tank Section 502 East 9th Street Des Moines, IA 50319-0034 |
| --- | --- |

# Iowa UST System 30 Day Walkthrough Inspection

30 day walkthrough inspections must be kept at least one year after the last inspection date on the form.

This inspection is to be completed by a person with knowledge of the UST system. (Examples: trained A/B Operator, service technician, or Iowa Licensed Professional). 30 day walkthroughs inspections must be conducted every 30 days. If problems are found during the walkthrough inspection, the person conducting the inspection must take action quickly to resolve these problems and avoid serious releases.

|  |  | Date of Inspection |  |
| --- | --- | --- | --- |
| Facility Name: |  | Registration No.: |  |
| Site Address: |  |
| City, County: |  | Zip Code: |  |
| Required Activities |
| Spill & Overfill Emergency Response |
| Are the emergency spill response supplies fully stocked and able to function properly? | YES NO |
| Is there Emergency Contact information posted at the dispenser for unattended fueling? | YES NO |
| UST Operator Training |
| Are all store staff up to date on operator training? Must have a minimum C Operator on site at all times. | YES NO |
| Cathodic Protection System (Impressed Current Only) |
| Has the rectifier readings been loge within the last 60 Days? | YES NO |
|  | Date of Last Reading: |  |  |  |

| Identify tank using tag number, capacity, and content: | Tag #: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Capacity: |  |  |  |  |  |
|  | Content: |  |  |  |  |  |
| Spill Containment Area |
| Is the spill bucket cover in good condition? | YES NO | YES NO | YES NO | YES NO | YES NO |
| Is the spill bucket free of fuel, water, or debris? | YES NO | YES NO | YES NO | YES NO | YES NO |
| Is the spill bucket free of cracks, holes, bulges, or other defects? | YES NO | YES NO | YES NO | YES NO | YES NO |
| Is the riser cap secure and in good condition? (No damage to fill pipe or cap.) | YES NO | YES NO | YES NO | YES NO | YES NO |
| Is the permanent tag present and visible? | YES NO | YES NO | YES NO | YES NO | YES NO |
| If the spill bucket is Double Walled is the interstice free of leaks? (If not applicable write N/A) | YES NO | YES NO | YES NO | YES NO | YES NO |
| Overfill Prevention Device |
| Auto Shutoff- Are there any obstructions in fill pipe preventing overfill equipment from functioning? | YES NO | YES NO | YES NO | YES NO | YES NO |
| Overfill Alarm- Is the overfill alarm visible and operating properly? | YES NO | YES NO | YES NO | YES NO | YES NO |
| Ball Floats- Is the ball float valve functioning properly? | YES NO | YES NO | YES NO | YES NO | YES NO |
| Release Detection System |
| Is the release detection equipment operating with any alarms? | YES NO | YES NO | YES NO | YES NO | YES NO |
| Is the release detection equipment operating with any unusual operating conditions? | YES NO | YES NO | YES NO | YES NO | YES NO |
| Record Keeping |
| Do the release detection records indicate a passing test? | YES NO | YES NO | YES NO | YES NO | YES NO |
| Are the release detection records current? | YES NO | YES NO | YES NO | YES NO | YES NO |
| Recommended Activities |
| Tanks |
| Has the tank been checked for the presence of water? | YES NO | YES NO | YES NO | YES NO | YES NO |
| What is the level of water in the tank? |  |  |  |  |  |
| Dispensers | 1/2 | 3/4 | 5/6 | 7/8 | 9/10 | 11/12 |
| Is the area under the dispenser free of fuel, water, and/or debris? | YES NO | YES NO | YES NO | YES NO | YES NO | YES NO |
| Are the piping, flexible connectors, and meters free of leaks and seeps? | YES NO | YES NO | YES NO | YES NO | YES NO | YES NO |
| Is the dispenser sump (UDC) free of cracks, holes, bulges, or other defects? | YES NO NA | YES NO NA | YES NO NA | YES NO NA | YES NO NA | YES NO NA |
| Are the dispenser hoses, nozzles, and breakaways operating properly? | YES NO | YES NO | YES NO | YES NO | YES NO | YES NO |
| Are there any loose fittings, deterioration, or obvious signs of leaks from dispenser hoses or nozzles? | YES NO | YES NO | YES NO | YES NO | YES NO | YES NO |

| Printed Name |  |  |  |
| --- | --- | --- | --- |
| A/B Operator Service Technician Licensed UST Professional | Title/Position |
| Signature |  | Date: |  |

| Are there any items from the walkthrough that require corrective actions be completed? | YES NO |
| --- | --- |
| UST System Maintenance/Repair Record |
| Identify Problem/Defective UST System Component | Date of Repair | Who Did Repair? |